## Sheet1
Location | Site Name | Owner/Operator | Site Summary | Download Data | Well Name | Latitude | Longitude | Designation | Legend | Drinking Water Health Standards Exceeded 1 | Health Based Standard Exceeded 1 | Number of Times in Exceedance 1 | Number of Times Monitored 1 | Max. Exceedance Amount 1 | Max. Allowable Amount 1 | Unit of Measurement 1 | Drinking Water Health Standards Exceeded 2 | Health Based Standard Exceeded 2 | Number of Times in Exceedance 2 | Number of Times Monitored 2 | Max. Exceedance Amount 2 | Max. Allowable Amount 2 | Unit of Measurement 2 | Drinking Water Health Standards Exceeded 3 | Health Based Standard Exceeded 3 | Number of Times in Exceedance 3 | Number of Times Monitored 3 | Max. Exceedance Amount 3 | Max. Allowable Amount 3 | Unit of Measurement 3 | Drinking Water Health Standards Exceeded 4 | Health Based Standard Exceeded 4 | Number of Times in Exceedance 4 | Number of Times Monitored 4 | Max. Exceedance Amount 4 | Max. Allowable Amount 4 | Unit of Measurement 4 | Drinking Water Health Standards Exceeded 5 | Health Based Standard Exceeded 5 | Number of Times in Exceedance 5 | Number of Times Monitored 5 | Max. Exceedance Amount 5 | Max. Allowable Amount 5 | Unit of Measurement 5
Colbert County, AL | Colbert Fossil Plant | Tennessee Valley Authority (TVA) |  |  | COF-CA12A | 34.7317 | -87.8436 | Downgradient | Downgradient, Not in Compliance | Lead | MCL | 3 | 7 | 0.16 | 0.015 | mg/L
Colbert County, AL | Colbert Fossil Plant | Tennessee Valley Authority (TVA) |  |  | COF-CA17B | 34.7346 | -87.8472 | Downgradient | Downgradient, Not in Compliance | Manganese | LHA | 5 | 5 | 1.7 | 0.3 | mg/L | Molybdenum | LHA | 1 | 5 | 0.072 | 0.04 | mg/L
Colbert County, AL | Colbert Fossil Plant | Tennessee Valley Authority (TVA) |  |  | COF-CA20A | 34.731 | -87.8293 | Downgradient | Downgradient, Not in Compliance | Arsenic | MCL | 1 | 7 | 0.013 | 0.01 | mg/L | Manganese | LHA | 1 | 7 | 0.42 | 0.3 | mg/L
Colbert County, AL | Colbert Fossil Plant | Tennessee Valley Authority (TVA) |  |  | COF-CA21B | 34.7275 | -87.8333 | Downgradient | Downgradient, Not in Compliance | Arsenic | MCL | 1 | 7 | 0.019 | 0.01 | mg/L | Boron | LHA | 4 | 7 | 9.3 | 6 | mg/L | Molybdenum | LHA | 5 | 7 | 0.18 | 0.04 | mg/L
Colbert County, AL | Colbert Fossil Plant | Tennessee Valley Authority (TVA) |  |  | COF-CA22B | 34.7395 | -87.8384 | Downgradient | Downgradient, Not in Compliance | Boron | LHA | 1 | 7 | 7.3 | 6 | mg/L | Manganese | LHA | 1 | 7 | 1.7 | 0.3 | mg/L | Molybdenum | LHA | 1 | 7 | 0.088 | 0.04 | mg/L
Colbert County, AL | Colbert Fossil Plant | Tennessee Valley Authority (TVA) |  |  | COF-CA27BR | 34.75 | -87.8596 | Downgradient | Downgradient, Not in Compliance | Antimony | MCL | 1 | 7 | 0.024 | 0.006 | mg/L
Colbert County, AL | Colbert Fossil Plant | Tennessee Valley Authority (TVA) |  |  | COF-CA28B | 34.7493 | -87.8538 | Downgradient | Downgradient, Not in Compliance | Manganese | LHA | 7 | 7 | 0.68 | 0.3 | mg/L
Colbert County, AL | Colbert Fossil Plant | Tennessee Valley Authority (TVA) |  |  | COF-CA29AR | 34.732 | -87.8547 | Downgradient | Downgradient, Not in Compliance | Manganese | LHA | 4 | 7 | 0.7 | 0.3 | mg/L | Molybdenum | LHA | 5 | 7 | 0.067 | 0.04 | mg/L
Colbert County, AL | Colbert Fossil Plant | Tennessee Valley Authority (TVA) |  |  | COF-CA29BR | 34.732 | -87.8547 | Downgradient | Downgradient, Not in Compliance | Arsenic | MCL | 1 | 6 | 0.012 | 0.01 | mg/L | Molybdenum | LHA | 6 | 6 | 0.065 | 0.04 | mg/L
Colbert County, AL | Colbert Fossil Plant | Tennessee Valley Authority (TVA) |  |  | COF-CA30B | 34.7313 | -87.8452 | Downgradient | Downgradient, Not in Compliance | Chromium (total) | MCL | 1 | 5 | 0.28 | 0.1 | mg/L | Manganese | LHA | 5 | 5 | 1.7 | 0.3 | mg/L | Molybdenum | LHA | 1 | 5 | 0.047 | 0.04 | mg/L | Nickel | LHA | 1 | 4 | 0.22 | 0.1 | mg/L
Colbert County, AL | Colbert Fossil Plant | Tennessee Valley Authority (TVA) |  |  | COF-CA31A | 34.7391 | -87.8508 | Downgradient | Downgradient, Not in Compliance | Manganese | LHA | 2 | 5 | 0.65 | 0.3 | mg/L | Molybdenum | LHA | 1 | 5 | 0.051 | 0.04 | mg/L
Colbert County, AL | Colbert Fossil Plant | Tennessee Valley Authority (TVA) |  |  | COF-CA5 | 34.7264 | -87.8481 | Upgradient | Upgradient, Not in Compliance | Lead | MCL | 1 | 7 | 0.1 | 0.015 | mg/L | Manganese | LHA | 1 | 7 | 0.34 | 0.3 | mg/L
Colbert County, AL | Colbert Fossil Plant | Tennessee Valley Authority (TVA) |  |  | COF-CA9R | 34.7351 | -87.8349 | Downgradient | Downgradient, Not in Compliance | Antimony | MCL | 4 | 7 | 0.059 | 0.006 | mg/L | Molybdenum | LHA | 2 | 7 | 0.057 | 0.04 | mg/L
Colbert County, AL | Colbert Fossil Plant | Tennessee Valley Authority (TVA) |  |  | COF-MC1 | 34.7343 | -87.8537 | Downgradient | Downgradient, Not in Compliance | Antimony | MCL | 7 | 7 | 0.015 | 0.006 | mg/L | Arsenic | MCL | 6 | 7 | 0.076 | 0.01 | mg/L | Boron | CHA | 7 | 7 | 3.7 | 3 | mg/L | Molybdenum | LHA | 7 | 7 | 0.18 | 0.04 | mg/L
Colbert County, AL | Colbert Fossil Plant | Tennessee Valley Authority (TVA) |  |  | COF-MC4 | 34.7344 | -87.8536 | Downgradient | Downgradient, Not in Compliance | Antimony | MCL | 5 | 7 | 0.011 | 0.006 | mg/L | Arsenic | MCL | 6 | 7 | 0.065 | 0.01 | mg/L | Boron | CHA | 7 | 7 | 3.6 | 3 | mg/L | Molybdenum | LHA | 7 | 7 | 0.18 | 0.04 | mg/L
Colbert County, AL | Colbert Fossil Plant | Tennessee Valley Authority (TVA) |  |  | COF-MC5A | 34.7331 | -87.8538 | Downgradient | Downgradient, Not in Compliance | Antimony | MCL | 7 | 7 | 0.011 | 0.006 | mg/L | Arsenic | MCL | 6 | 7 | 0.072 | 0.01 | mg/L | Boron | CHA | 4 | 7 | 3.5 | 3 | mg/L | Manganese | LHA | 1 | 7 | 0.31 | 0.3 | mg/L | Molybdenum | LHA | 7 | 7 | 0.17 | 0.04 | mg/L
Colbert County, AL | Colbert Fossil Plant | Tennessee Valley Authority (TVA) |  |  | COF-MC5C | 34.733 | -87.8538 | Downgradient | Downgradient, Not in Compliance | Molybdenum | LHA | 6 | 7 | 0.054 | 0.04 | mg/L
Colbert County, AL | Colbert Fossil Plant | Tennessee Valley Authority (TVA) |  |  | COF-P8 | 34.7227 | -87.8211 | Upgradient | Upgradient, Not in Compliance | Lead | MCL | 1 | 7 | 0.018 | 0.015 | mg/L
Colbert County, AL | Colbert Fossil Plant | Tennessee Valley Authority (TVA) |  |  | COF-CA11 | 34.7262 | -87.8283 | Upgradient | Upgradient, In Compliance
Colbert County, AL | Colbert Fossil Plant | Tennessee Valley Authority (TVA) |  |  | COF-CA16 | 34.7292 | -87.8403 | Downgradient | Downgradient, In Compliance
Colbert County, AL | Colbert Fossil Plant | Tennessee Valley Authority (TVA) |  |  | COF-CA17A | 34.7347 | -87.8472 | Downgradient | Downgradient, In Compliance
Colbert County, AL | Colbert Fossil Plant | Tennessee Valley Authority (TVA) |  |  | COF-CA19B | 34.7369 | -87.8363 | Downgradient | Downgradient, In Compliance
Colbert County, AL | Colbert Fossil Plant | Tennessee Valley Authority (TVA) |  |  | COF-CA20B | 34.7313 | -87.8288 | Downgradient | Downgradient, In Compliance
Colbert County, AL | Colbert Fossil Plant | Tennessee Valley Authority (TVA) |  |  | COF-CA6 | 34.7264 | -87.8481 | Upgradient | Upgradient, In Compliance
Colbert County, AL | Colbert Fossil Plant | Tennessee Valley Authority (TVA) |  |  | COF-P2 | 34.7369 | -87.8305 | Downgradient | Downgradient, In Compliance